## NETCEN
Site Calibration and Instrument Checklist | [5 empty] | ***FOR RICARDO USE ONLY***
Site | Please Select |  |  | Operator
Date |  | Invalid date |  | Time (hh:mm GMT) |  | Invalid time - needs to be in hh:mm format with a colon
Code: |  |  |  | Reason for visit: | Please enter
Instrument Calibration
|  | Zero |  |  | Span
|  |  | Logger | Instrument |  | Logger | Instrument
|  |  | (if present) | Front panel |  | (if present) | Front panel | Cyl No | Cyl Pressure | Cyl Concentration
| Instrument No | Range | mV | ppb or CO ppm | Range | mV | ppb or CO ppm |  | psi or Bar | ppb | psi / bar
NOx | [10 empty] | psi
NO
NOx
NO
CO
SO2
O3
D CO
Zero
PM10 Filter / Tape Changed? Y/N
PM10 Head Cleaned? Y/N
PM2.5 Filter / Tape Changed? Y/N
PM2.5 Head Cleaned? Y/N
Sample Filter Changed? Y/N |  |  | NOx
CO
SO2
O3
Flow Test? Y/N |  |  | NOx
CO
SO2
O3
Calibration End Time (hh:mm GMT) |  |  |  | Invalid time - needs to be in hh:mm format with a colon
Comments and Observations
LSO Calibration Sheet version 1.20

## Intro
AQ Monitoring Station - Site Visit Summary |  |  |  |  | Please Select |  |  |  | Please enter |  | Please enter
[5 empty] | Aberdeen | ABD | BV | A | LSO Calibration |  | GMT
Send to: |  |  |  | aqadmin@ricardo.com | Aberdeen Union Street Roadside | ABD7 | BV | A | LSO Call-Out |  | BST
[5 empty] | Aberdeen Wellington Road | ABD8 | BV | A | ESU Call-Out
Contact Details: |  |  |  | Denise Knight | Armagh Roadside | ARM6 | BV | A | Service
|  |  |  | Ricardo Energy & Environment | Aston Hill | AH | BV | D | Other
|  |  |  | 01235 753590 | Auchencorth Moss | ACTH | BV | D
[5 empty] | Ballymena Antrim Road | BAAR | BV | D | BV | ERG | Ricardo
|  |  |  | denise.knight@ricardo.com | Ballymena Ballykeel | BALM | BV | A | aurn.team@uk.bureauveritas.com | dutyofficer@kcl.ac.uk | email
[5 empty] | Barnsley Gawber | BAR3 | BV | D | Nick Phillips | Duty Officer | who
[5 empty] | Barnstaple A39 | BPLE | BV | D | BV | KCL | where
Site Name: | Please Select |  |  |  | Bath Roadside | BATH | BV | A | 0207 661 0764 | 0207 848 4022 | number
[5 empty] | Belfast Centre | BEL2 | BV | D
Name of LSO / ESU |  |  |  |  | Belfast Stockman's Lane | BEL1 | BV | A | nick.phillips@uk.bureauveritas.com | dutyofficer@kcl.ac.uk | email
[5 empty] | Billingham | BIL | BV | D
Date of Visit |  |  |  |  | Birkenhead Borough Road | BBRD | BV | D
[5 empty] | Birmingham Acocks Green | AGRN | BV | D
[5 empty] | Birmingham A4540 Roadside | BIRR | BV | D
Time of Visit: (hh:mm) |  | Please enter | (GMT/BST) |  | Birmingham Ladywood | BMLD | BV | A
[5 empty] | Blackburn Accrington Road | BLAR | BV | D
Reason For Visit: | Please enter |  |  |  | Blackpool Marton | BLC2 | BV | D
[5 empty] | Borehamwood Meadow Park | BDMP | BV | A
[5 empty] | Bournemouth | BORN | BV | D
Equipment attended to: |  |  |  |  | Bradford Mayo Avenue | BDMA | BV | A
| Fault on arrival? | Attended to? | Fault on leaving? |  | Brighton Preston Park | BRT3 | BV | D
All |  |  |  |  | Bristol St Paul's | BRS8 | BV | D
NOx Analyser |  |  |  |  | Bristol Temple Way | BR11 | BV | A
CO Analyser |  |  |  |  | Burton-on-Trent Horninglow | BOTR | BV | D
SO2Analyser |  |  |  |  | Bury Whitefield Roadside | BURW | BV | A
O3 Analyser |  |  |  |  | Bush Estate | BUSH | BV | D
PM10 Analyser |  |  |  |  | Cambridge Roadside | CAM | BV | A
PM2.5 Analyser |  |  |  |  | Camden Kerbside | CA1 | ERG | NA
Aircon unit |  |  |  |  | Cannock A5190 Roadside | CANK | BV | A
Other |  |  |  |  | Canterbury | CANT | BV | A
[5 empty] | Cardiff Centre | CARD | BV | D
Other: Please specify: |  |  |  |  | Cardiff Newport Road | CFRT | BV | D
[5 empty] | Carlisle Roadside | CARL | BV | A
[5 empty] | Charlton Mackrell | MACK | BV | D
| Please enter the electricity meter reading: |  |  |  | Chatham Centre Roadside | CHAT | BV | A
[5 empty] | Chepstow A48 | CHP | BV | A
[5 empty] | Chesterfield Loundsley Green | CHS6 | BV | A
[5 empty] | Chesterfield Roadside | CHS7 | BV | A
[5 empty] | Chilbolton | CHBO | BV | D
[5 empty] | Christchurch Barrack Road | CHBR | BV | D
[5 empty] | Coventry Allesley | COAL | BV | D
[5 empty] | Coventry Binley Road | COBR | BV | D
[5 empty] | Crewe Coppenhall | CCOP | BV | D
[5 empty] | Cwmbran | CWMB | BV | A
[5 empty] | Derby St Alkmunds Way | DESA | BV | D
[5 empty] | Derry Rosemount | DERR | BV | A
[5 empty] | Dewsbury Ashworth Grove | DYAG | BV | A
[5 empty] | Doncaster A630 Cleveland Street | DCST | BV | D
[5 empty] | Dumbarton Roadside | DUMB | BV | A
[5 empty] | Dumfries | DUMF | BV | D
[5 empty] | Dundee Mains Loan | DCC1 | BV | A
[5 empty] | Ealing Horn Lane | EA8 | ERG | NA
[5 empty] | Eastbourne | EB | ERG | NA
[5 empty] | Edinburgh Nicolson Street | EDNS | BV | A
[5 empty] | Edinburgh St Leonards | ED3 | BV | D
[5 empty] | Eskdalemuir | ESK | BV | D
[5 empty] | Exeter Roadside | EX | BV | A
[5 empty] | Fort William | FW | BV | D
[5 empty] | Glasgow Great Western Road | GGWR | BV | D
[5 empty] | Glasgow High Street | GHSR | BV | D
[5 empty] | Glasgow Kerbside | GLA4 | BV | D
[5 empty] | Glasgow Townhead | GLKP | BV | D
[5 empty] | Glazebury | GLAZ | BV | D
[5 empty] | Grangemouth | GRAN | BV | A
[5 empty] | Grangemouth Moray | GRA2 | BV | A
[5 empty] | Greenock A8 Roadside | GHA8 | BV | A
[5 empty] | Hafod-yr-ynys Roadside | CAE6 | BV | A
[5 empty] | Haringey Roadside | HG1 | ERG | NA
[5 empty] | Hartlepool St Abbs Walk | HSAW | BV | D
[5 empty] | High Muffles | HM | BV | D
[5 empty] | Honiton | HONI | BV | D
[5 empty] | Horley | HORE | ERG | NA
[5 empty] | Hull Freetown | HUL2 | BV | D
[5 empty] | Hull Holderness Road | HULR | BV | D
[5 empty] | Immingham Woodlands Avenue | IMGM | BV | D
[5 empty] | Inverness | INV2 | BV | D
[5 empty] | Ladybower | LB | BV | D
[5 empty] | Leamington Spa | LEAM | BV | A
[5 empty] | Leamington Spa Rugby Road | LEAR | BV | D
[5 empty] | Leeds Centre | LEED | BV | D
[5 empty] | Leeds Headingley Kerbside | LED6 | BV | A
[5 empty] | Leicester A594 Roadside | LEIR | BV | D
[5 empty] | Leicester University | LECU | BV | D
[5 empty] | Leominster | LEOM | BV | D
[5 empty] | Lerwick | LERW | BV | D
[5 empty] | Lincoln Canwick Road | LIN3 | BV | A
[5 empty] | Liverpool Speke | LVP | BV | D
[5 empty] | London Bexley | BEX | BV | NA
[5 empty] | London Bloomsbury | CLL2 | BV | D
[5 empty] | London Eltham | LON6 | ERG | NA
[5 empty] | London Haringey Priory Park South | HG4 | ERG | NA
[5 empty] | London Harlington | HRL | Ricardo | NA
[5 empty] | London Honor Oak Park | HP1 | ERG | NA
[5 empty] | London Hillingdon | HIL | BV | D
[5 empty] | London Marylebone Road | MY1 | ERG | NA
[5 empty] | London N. Kensington | KC1 | ERG | NA
[5 empty] | London Teddington Bushy Park | TED2 | BV | D
[5 empty] | London Westminster | HORS | BV | D
[5 empty] | Lough Navar | LN | BV | D
[5 empty] | Lullington Heath | LH | BV | D
[5 empty] | Luton A505 Roadside | LUTR | BV | D
[5 empty] | Mace Head | MH | BV | A
[5 empty] | Manchester Piccadilly | MAN3 | BV | D
[5 empty] | Manchester Sharston | MAHG | BV | A
[5 empty] | Market Harborough | MKTH | BV | D
[5 empty] | Middlesbrough | MID | BV | A
[5 empty] | Narberth | PEMB | BV | D
[5 empty] | Newcastle Centre | NEWC | BV | D
[5 empty] | Newcastle Cradlewell Roadside | NCA3 | BV | A
[5 empty] | Newport | NPT3 | BV | A
[5 empty] | Northampton Spring Park | NTN4 | BV | D
[5 empty] | Norwich Lakenfields | NO12 | BV | D
[5 empty] | Nottingham Centre | NOTT | BV | D
[5 empty] | Nottingham Western Boulevard | NWBV | BV | D
[5 empty] | Oldbury Birmingham Road | BOLD | BV | A
[5 empty] | Oxford Centre Roadside | OX | BV | A
[5 empty] | Oxford St Ebbes | OX8 | BV | A
[5 empty] | Peebles | PEEB | BV | D
[5 empty] | Plymouth Tavistock Road | PLYR | BV | A
[5 empty] | Plymouth Centre | PLYM | BV | D
[5 empty] | Port Talbot Margam | PT4 | BV | A
[5 empty] | Portsmouth | PMTH | BV | A
[5 empty] | Portsmouth Anglesea Road | POAR | BV | D
[5 empty] | Preston | PRES | BV | D
[5 empty] | Reading London Road | REA5 | BV | A
[5 empty] | Reading New Town | REA1 | BV | D
[5 empty] | Rochester Stoke | ROCH | BV | A
[5 empty] | Salford Eccles | ECCL | BV | A
[5 empty] | Saltash Callington Road | SASH | BV | D
[5 empty] | Sandy Roadside | SDY | ERG | NA
[5 empty] | Scunthorpe Town | SCN2 | BV | A
[5 empty] | Shaw Crompton Way | CW | BV | A
[5 empty] | Sheffield Barnsley Road | SHBR | BV | D
[5 empty] | Sheffield Devonshire Green | SHDG | BV | D
[5 empty] | Sheffield Tinsley | SHE | BV | D
[5 empty] | Sibton | SIB | BV | D
[5 empty] | Southampton Centre | SOUT | BV | D
[5 empty] | Southampton A33 Roadside | SA33 | BV | D
[5 empty] | Southend-on-Sea | SEND | BV | D
[5 empty] | Southwark A2 Old Kent Road | SK5 | ERG | NA
[5 empty] | St Helens Linkway | SHLW | BV | A
[5 empty] | St Osyth | OSY | BV | D
[5 empty] | Stanford-le-Hope Roadside | HOPE | ERG | NA
[5 empty] | Stockton on Tees A1035 Roadside | SOTR | BV | D
[5 empty] | Stockton-on-Tees Eaglescliffe | EAGL | BV | A
[5 empty] | Stoke-on-Trent Centre | STOK | BV | D
[5 empty] | Stoke on Trent A50 Roadside | STKR | BV | D
[5 empty] | Storrington Roadside | STOR | ERG | NA
[5 empty] | Strath Vaich | SV | BV | D
[5 empty] | Sunderland Silksworth | SUN2 | BV | A
[5 empty] | Sunderland Wessington Way | SUNR | BV | D
[5 empty] | Swansea Roadside | SWA1 | BV | A
[5 empty] | Swindon Walcot | SWHO | BV | D
[5 empty] | Telford Hollinswood | TDHD | BV | D
[5 empty] | Thurrock | THUR | BV | A
[5 empty] | Tower Hamlets Roadside | TH2 | ERG | NA
[5 empty] | Walsall Woodlands | WAL4 | BV | A
[5 empty] | Warrington | WAR | BV | A
[5 empty] | West Bromwich Kenrick Park | WBKP | BV | D
[5 empty] | Weybourne | WEYB | BV | A
[5 empty] | Wicken Fen | WFEN | BV | D
[5 empty] | Widnes Milton Road | WSMR | BV | A
[5 empty] | Wigan Centre | WIG5 | BV | A
[5 empty] | Wirral Tranmere | TRAN | BV | D
[5 empty] | Worthing A27 Roadside | WTHG | BV | A
[5 empty] | Wrexham | WREX | BV | D
[5 empty] | Yarner Wood | YW | BV | D
[5 empty] | York Bootham | YK10 | BV | A
[5 empty] | York Fishergate | YK11 | BV | A

## Pre Cal
Pre-Calibration Checklist: | [16 empty] | Select Analyser type
API
Is a Pollution Episode in Progress? |  |  |  |  | (y/n) | [11 empty] | Horiba 370
Horiba 360
Select analysers on site: | [16 empty] | Thermo i Series
Thermo C Series
| NOx |  |  |  | O3 |  |  |  | CO |  |  |  | SO2 |  |  |  | ML / ME
| Select Analyser type |  |  |  | Select Analyser type |  |  |  | Select Analyser type |  |  |  | Select Analyser type |  |  |  | Environnement
Serinus
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1 | Select Analyser type
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1 | TEOM
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1 | TEOM FDMS
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1 | BAM
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1 | Partisol
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1 | Fidas 200
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 |  | -99 | CO | 1 |  | -99 | SO2 | 1
|  | -99 | NOX | 1 |  | -99 | O3 | 1 | [5 empty] | -99 | SO2 | 1
|  | -99 | NOX | 1
|  | -99 | NOX | 1
|  | -99 | NOX | 1
|  | -99 | NOX | 1
| PM10 |  |  |  | PM2.5
| Select Analyser type |  |  |  | Select Analyser type
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1
|  | -99 | PM10 | 1 |  | -99 | PM25 | 1

## Cal
Calibration
Turn all status flags on: | Yes | [5 empty] | External Datalogger present? | Enter |  |  | psi | Enter
[11 empty] | bar | Yes
[11 empty] | M 1100 | No
|  | Zero (Analyser Front Panel) | [5 empty] | Zero (external logger if fitted) |  |  | M 1500
| 1 | 2 | 3 |  |  |  | 1 | 2 | 3
NOx: |  |  |  | (ppb/ppm) |  | NOx: |  |  |  | (mV)
NO: |  |  |  | (ppb/ppm) |  | NO: |  |  |  | (mV)
NO2: |  |  |  | (ppb/ppm) |  | NO2: |  |  |  | (mV)
CO: |  |  |  | (ppb/ppm) |  | CO: |  |  |  | (mV)
SO2: |  |  |  | (ppb/ppm) |  | SO2: |  |  |  | (mV)
O3: |  |  |  | (ppb/ppm) |  | O3: |  |  |  | (mV)
|  | Cal Cylinder (Analyser Front Panel) | [5 empty] | Cal Cylinder (external logger if fitted)
| 1 | 2 | 3 |  |  |  | 1 | 2 | 3
NOx: |  |  |  | (ppb/ppm) |  | NOx: |  |  |  | (mV)
NO: |  |  |  | (ppb/ppm) |  | NO: |  |  |  | (mV)
NO2: |  |  |  | (ppb/ppm) |  | NO2: |  |  |  | (mV)
CO: |  |  |  | (ppb/ppm) |  | CO: |  |  |  | (mV)
SO2: |  |  |  | (ppb/ppm) |  | SO2: |  |  |  | (mV)
O3: |  |  |  | (ppb/ppm) |  | O3: |  |  |  | (mV)
| Cylinders |  | Concentration (if known)
| Cyl no | Pressure | (NOx) | (NO) | Units
NO: |  |  |  |  | psi
Calibration CO:
Daily CO:
SO2:
Zero:
Fidas PM calibration
| P/cm3 | Conc
Zero:
Measured peak
Monodust: |  |  | Monodust type:
| BAM PM Maintenance | PM10 |  |  |  | PM2.5
| First leak check |  | l/min |  | First leak check |  | l/min
| Nozzle Cleaned? |  |  |  | Nozzle Cleaned?
| Second leak check |  | l/min |  | Second leak check |  | l/min
Change All Gas Analyser Filters: |  |  | (y/n)
TEOM PM10 Filters Changed?: |  |  | (y/n)
PM10 Heads Cleaned?: |  |  | (y/n)
TEOM PM2.5 Filters Changed?: |  |  | (y/n)
PM2.5 Heads Cleaned?: |  |  | (y/n)
Comments
NOx
CO
SO2
O3
PM10
PM2.5
Scroll down

## Post Cal
Post-Calibration Checklist
Thermo C Series
| NOx |  |  |  | O3 |  |  |  | CO |  |  |  | SO2 |  |  |  | ML / ME
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2 | TEOM
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2 | TEOM FDMS
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2 | BAM
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2 | Partisol
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 |  | -99 | CO | 2 |  | -99 | SO2 | 2
|  | -99 | NOX | 2 |  | -99 | O3 | 2 | [5 empty] | -99 | SO2 | 2
|  | -99 | NOX | 2
|  | -99 | NOX | 2
|  | -99 | NOX | 2
|  | -99 | NOX | 2
| PM10 |  |  |  | PM2.5
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2
|  | -99 | PM10 | 2 |  | -99 | PM25 | 2

## Final Page
Final Checks
All analysers OK: | (y/n) | Please Select
All sampling ambient: | (y/n)
Manifold fan running: | (y/n)
Sampling system intact: | (y/n)
Cylinders turned off: | (y/n)
All filters changed: | (y/n)
Ladder stowed: | (y/n)
Cyl Store locked: | (y/n)
Status flags off: | (y/n)
Calibration end time: | GMT
Comments:

## Diagnostics (hidden)
API | Diag1 | Horiba 370 | Diag2 | Horiba 360 | Diag3 | Thermo i Series | Diag4 | Thermo C Series | Diag5 | ML / ME | Diag6 | Environnement | Diag7 | Serinus | Diag8
NOx |  | NOx |  | NOx |  | NOx |  | NOx |  | NOx |  | NOx |  | NOx
Analyser OK | adisplay_sample | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | -99 | -99 | 1
Serial Number | ainstrument_no | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | -99 | -99 | 1
Sample LED on | asample_led | LED green | [13 empty] | -99 | -99 | 1
Cal LED on | acal_led |  |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | -99 | -99 | 1
Fault LED off | afault_led | Actual Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | -99 | -99 | 1
|  | Time |  | Date | [9 empty] | Fault Present? |  | -99 | -99 | 1
Actual time: |  | Date |  | Mode |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | List Faults |  | -99 | -99 | 1
Time: | atime | Mode |  |  |  | List Faults |  | List Faults |  | List Faults |  | List Faults |  |  |  | -99 | -99 | 1
Range: | arange |  |  | Alarm Present? |  |  |  | NO Range | [5 empty] | Next service due |  | -99 | -99 | 1
Units: |  | Alarm Present? |  | List alarms |  | NO Range |  | NO2 Range |  | Instr Gain |  | Conv Temp |  | +5v supply |  | -99 | -99 | 1
Stabil: |  | List alarms |  |  |  | NO2 Range |  | NOx Range |  | Gas Flow |  | HV PM |  | +12v supply |  | -99 | -99 | 1
Sample Flow: | asample_flow |  |  | Detector |  | NOx Range |  | Aver.Time |  | Gas Pressure |  | Ground |  | + analog supply |  | -99 | -99 | 1
Ozone Flow: | anox_o3_flow | Signal (NO) |  | Sample |  | Internal Temp |  | NO Bkg |  | Ambient Pressure |  | Pressure |  | - analog supply |  | -99 | -99 | 1
PMT: | apmt_mv | Signal (NOx) |  |  |  | Chamber Temp |  | NOx Bkg |  | Conc Voltage |  | Peltier |  | A2D |  | -99 | -99 | 1
Norm PMT: |  | Detector |  |  |  | Cooler Temp |  | NO Coeff |  | Analog Supply |  | Opt Temp |  | Cell temp |  | -99 | -99 | 1
Azero: |  | Pump |  |  |  | Converter Temp |  | NOx Coeff |  | Digital Supply |  | PM Signal |  | Converter temp |  | -99 | -99 | 1
HVPS: | ahvps | Ambient |  |  |  | Pressure |  | NO2 Coeff |  | Ground Offset |  | Oz Test |  | Converter |  | -99 | -99 | 1
DCPS: | adcps | Sample |  |  |  | Sample Flow |  | Temp Correct |  | High Voltage |  | Flow Rate |  | Converter stab |  | -99 | -99 | 1
Rcell Temp: | arcell_temp | DC 24V |  |  |  | Ozonator Flow OK |  | Press Correct |  | Version |  | Int Temp |  | Perm tube oven |  | -99 | -99 | 1
Box Temp: | abox_temp | DC 5V | [5 empty] | PMT |  |  |  | Cal Temp |  | Cooler |  | -99 | -99 | 1
PMT Temp: | apmt_temp | [6 empty] | +5 |  |  |  | 5V Supply |  | High Voltage |  | -99 | -99 | 1
IZS Temp: | aizs_temp | [6 empty] | +15 |  |  |  | A/D Test |  | Diagnostic PTF comp |  | -99 | -99 | 1
Moly Temp: | anox_converter_temp | [6 empty] | -15 | [5 empty] | Ozonator |  | -99 | -99 | 1
RCEL: | arcel | [6 empty] | Internal Temp | [5 empty] | NO conc V sat |  | -99 | -99 | 1
SAMP: | apressure | [6 empty] | Chamber Temp | [5 empty] | NOx conc V sat |  | -99 | -99 | 1
NOx Slope: | [7 empty] | Cooler Temp | [5 empty] | Flow fault |  | -99 | -99 | 1
NOx Offs: | [7 empty] | Converter Temp | [5 empty] | Valve man. temp |  | -99 | -99 | 1
NO Slope: | [7 empty] | Pressure | [5 empty] | Chassis temp |  | -99 | -99 | 1
NO Offs: | [7 empty] | Sample Flow | [5 empty] | Conv temp < target |  | -99 | -99 | 1
API | Diag1 | Horiba 370 | Diag2 | Horiba 360 | Diag3 | Thermo i Series | Diag4 | Thermo C Series | Diag5 | ML / ME | Diag6 | Environnement | Diag7 | Serinus | Diag8
O3 |  | O3 |  | O3 |  | O3 |  | O3 |  | O3 |  | O3 |  | O3
Analyser OK | adisplay_sample | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | -99 | -99 | 1
Serial Number | ainstrument_no | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | -99 | -99 | 1
Sample LED on | asample_led | LED green | [13 empty] | -99 | -99 | 1
Cal LED on | acal_led |  |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | -99 | -99 | 1
Fault LED off | afault_led | Actual Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | -99 | -99 | 1
Actual Time: |  | Time |  | Date | [9 empty] | Fault Present? |  | -99 | -99 | 1
Time: | atime | Date |  | Mode |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | List Faults |  | -99 | -99 | 1
Range: | arange | Mode |  |  |  | List Faults |  | List Faults |  | List Faults |  | List Faults |  |  |  | -99 | -99 | 1
Stabil: |  |  |  | Alarm Present? | [9 empty] | Next service due |  | -99 | -99 | 1
O3 Meas: | ao3_meas_mv | Alarm Present? |  | List alarms |  | O3 Range |  | O3 Range |  | Instr Zero |  | Lamp Temp |  | +5v supply |  | -99 | -99 | 1
O3 Ref: | aref_mv | List alarms |  |  |  | Bench Temp |  | Aver.Time |  | Instr Gain |  | Gen Temp |  | +12v supply |  | -99 | -99 | 1
O3 Gen: |  |  |  | Cell |  | Pressure |  | O3 Bkg |  | Gas Flow |  | Ground |  | + analog supply |  | -99 | -99 | 1
O3 Drive: |  | Signal |  | Cell |  | Sample Flow Cell A |  | O3 Coeff |  | Gas Pressure |  | EXT 1 |  | - analog supply |  | -99 | -99 | 1
VAC: |  | Lamp |  | Sample |  | Sample Flow Cell B |  | Temp Correct |  | Ref Voltage |  | EXT 2 |  | A2D |  | -99 | -99 | 1
Sample Pressure: | apressure | Cell |  |  |  | Intensity A |  | Press Correct |  | Conc Voltage |  | Pressure |  | Ozone lamp temp |  | -99 | -99 | 1
Sample Flow: | asample_flow | Pump |  |  |  | Intensity B |  | +5 |  | Analog Supply |  | Lamp Adj |  | Lamp temp |  | -99 | -99 | 1
Sample Temp: | asample_temp | Ambient | [5 empty] | +15 |  | Digital Supply |  | Measure |  | Lamp/source |  | -99 | -99 | 1
Photo Lamp Temp: | ao3_izs_lamp_temp | Sample | [5 empty] | -15 |  | Ground Offset |  | Opt Temp |  | Ref voltage |  | -99 | -99 | 1
IZS Temp: |  | DC 24V | [5 empty] | Bench Temp |  | Lamp Current |  | UV Ref |  | Diagnostic PTF comp |  | -99 | -99 | 1
IZS Flow: | ao3_izs_flow | DC 5V | [5 empty] | Bench Lamp Temp |  | Version |  | Flow Rate |  | O3 conc V sat |  | -99 | -99 | 1
O3 Gen Temp: | [7 empty] | Pressure |  |  |  | Int Temp |  | Bkgd conc V sat |  | -99 | -99 | 1
Orifice Temp: | ao3_izs_mv | [6 empty] | Sample Flow Cell A |  |  |  | O3 Lamp |  | Flow fault |  | -99 | -99 | 1
DCPS: | adcps | [6 empty] | Sample Flow Cell B |  |  |  | 5V Supply |  | Flow block temp |  | -99 | -99 | 1
Slope: | [11 empty] | A/D Test |  | Chassis temp |  | -99 | -99 | 1
Offset: | [13 empty] | O3 Stabilisation |  | -99 | -99 | 1
API | Diag1 | Horiba 370 | Diag2 | Horiba 360 | Diag3 | Thermo i Series | Diag4 | Thermo C Series | Diag5 | ML / ME | Diag6 | Environnement | Diag7 | Serinus | Diag8
CO |  | CO |  | CO |  | CO |  | CO |  | CO |  | CO |  | CO
Analyser OK | adisplay_sample | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | -99 | -99 | 1
Serial Number | ainstrument_no | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | -99 | -99 | 1
Sample LED on | asample_led | LED green | [13 empty] | -99 | -99 | 1
Cal LED on | acal_led |  |  | Actual time |  | Actual time |  | Actual time |  | Actual time |  | Actual time |  | Actual Time |  | -99 | -99 | 1
Fault LED off | afault_led | Actual time |  | Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | -99 | -99 | 1
|  | Time |  | Date | [9 empty] | Fault Present? |  | -99 | -99 | 1
Actual time |  | Date |  | Mode |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | List Faults |  | -99 | -99 | 1
Time: | atime | Mode |  |  |  | List Faults |  | List Faults |  | List Faults |  | List Faults |  | Next service due |  | -99 | -99 | 1
Range: | arange |  |  | Alarm Present? | [9 empty] | +5v supply |  | -99 | -99 | 1
Stabil: | astability | Alarm Present? |  | List alarms |  | CO Range |  | CO Range |  | Instr Gain |  | V<Motor> |  | +12v supply |  | -99 | -99 | 1
CO Meas: | aco_meas_mv | List alarms |  |  |  | CO BKG |  | Aver.Time |  | Gas Flow |  | Ground |  | + analog supply |  | -99 | -99 | 1
CO Ref: | aref_mv |  |  | Cell |  | CO Coeff |  | CO Bkg |  | Gas Pressure |  | EXT 1 |  | - analog supply |  | -99 | -99 | 1
MR Ratio: | aco_mr_ratio | Signal (Main) |  | Sample |  | Internal Temp |  | CO Coeff |  | Ref Voltage |  | EXT 2 |  | A2D |  | -99 | -99 | 1
Pres: | apressure | Signal (Comp) |  |  |  | Chamber Temp |  | Temp Correct |  | Conc Voltage |  | Pressure |  | Cell temp |  | -99 | -99 | 1
Sample Flow: | asample_flow | Cell |  |  |  | Pressure |  | Press Correct |  | Analog Supply |  | IR Supply |  | CO scrubber temp |  | -99 | -99 | 1
Sample Temp: | asample_temp | Pump |  |  |  | Sample Flow |  | +5 |  | Digital Supply |  | PBSE Temp |  | Mirror temp |  | -99 | -99 | 1
Bench Temp: | abench_temp | Ambient |  |  |  | S/R ratio |  | +15 |  | Ground Offset |  | Opt Temp |  | Lamp/source |  | -99 | -99 | 1
Wheel Temp: | awheel_temp | Sample |  |  |  | AGC Intensity |  | -15 |  | Version |  | Flow Rate |  | Correlation wheel |  | -99 | -99 | 1
Box Temp: | abox_temp | DC 24V |  |  |  | Motor Speed |  | Internal Temp |  |  |  | Int Temp |  | Ref voltage |  | -99 | -99 | 1
DCPS: | adcps_temp | DC 5V | [5 empty] | Chamber Temp |  |  |  | CO Signal |  | IR source |  | -99 | -99 | 1
Slope: | aslope | [6 empty] | Pressure |  |  |  | 5V Supply |  | Diagnostic PTF comp |  | -99 | -99 | 1
Offset: | aoffset | [6 empty] | Sample Flow |  |  |  | A/D Test |  | CO conc V sat |  | -99 | -99 | 1
[8 empty] | S/R ratio | [5 empty] | Bkgd conc V sat |  | -99 | -99 | 1
[8 empty] | AGC Intensity | [5 empty] | Flow fault |  | -99 | -99 | 1
[8 empty] | Motor Speed | [5 empty] | Flow block temp |  | -99 | -99 | 1
[14 empty] | Chassis temp |  | -99 | -99 | 1
API | Diag1 | Horiba 370 | Diag2 | Horiba 360 | Diag3 | Thermo i Series | Diag4 | Thermo C Series | Diag5 | ML / ME | Diag6 | Environnement | Diag7 | Serinus | Diag8
SO2 |  | SO2 |  | SO2 |  | SO2 |  | SO2 |  | SO2 |  | SO2 |  | SO2
Analyser OK | adisplay_sample | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | Analyser OK |  | -99 | -99 | 1
Serial Number | ainstrument_no | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | Serial Number |  | -99 | -99 | 1
Sample LED on | asample_led | LED green | [13 empty] | -99 | -99 | 1
Cal LED on | acal_led |  |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | Actual Time |  | -99 | -99 | 1
Fault LED off | afault_led | Actual Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | Time |  | -99 | -99 | 1
|  | Time |  | Date | [9 empty] | Fault Present? |  | -99 | -99 | 1
Actual Time: |  | Date |  | Mode |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | Fault Present? |  | List Faults |  | -99 | -99 | 1
Time: | atime | Mode |  |  |  | List Faults |  | List Faults |  | List Faults |  | List Faults |  | Service due |  | -99 | -99 | 1
Range: | arange |  |  | Alarm Present? |  |  |  | SO2 Range | [5 empty] | +5v supply |  | -99 | -99 | 1
Sample Flow: | asample_flow | Alarm Present? |  | List alarms |  | SO2 Range |  | Aver.Time |  | Instr Gain |  | HV PM |  | +12v supply |  | -99 | -99 | 1
PMT: | apmt_mv | List alarms |  |  |  | Internal Temp |  | SO2 Bkg |  | Gas Flow |  | Ground |  | + analog supply |  | -99 | -99 | 1
UV Lamp volts: | mso2_lamp_mv |  |  | Cell |  | Chamber Temp |  | SO2 Coeff |  | Gas Pressure |  | EXT 1 |  | - analog supply |  | -99 | -99 | 1
Lamp %: | mso2_lamp_percent | Signal |  | Sample |  | Pressure |  | Temp Correct |  | Ref Voltage |  | EXT 2 |  | A2D |  | -99 | -99 | 1
Stray Light: | mso2_stray_light | Lamp |  |  |  | Sample Flow |  | Press Correct |  | Conc Voltage |  | Pressure |  | Cell temp |  | -99 | -99 | 1
HVPS | ahvps | Cell |  |  |  | Lamp Intensity |  | Flash Lamp |  | Analog Supply |  | UV Supply |  | Lamp/source |  | -99 | -99 | 1
DCPS: | adcps_temp | Pump | [5 empty] | PMT |  | Digital Supply |  | Lamp Adj |  | Perm tube oven |  | -99 | -99 | 1
Rcell Temp: | arcell_temp | Ambient | [5 empty] | Lamp |  | Ground Offset |  | PM Signal |  | Cooler |  | -99 | -99 | 1
Box Temp: | abox_temp | Sample | [5 empty] | +5 |  | High Voltage |  | Opt Temp |  | Ref voltage |  | -99 | -99 | 1
PMT Temp: | apmt_temp | DC 24V | [5 empty] | +15 |  | Lamp Current |  | UV Signal |  | High voltage |  | -99 | -99 | 1
IZS Temp: | aizs_temp | DC 5V | [5 empty] | -15 |  | Version |  | Flow Rate |  | Diagnostic PTF comp |  | -99 | -99 | 1
[8 empty] | Internal Temp |  |  |  | Int Temp |  | SO2 conc V sat |  | -99 | -99 | 1
[8 empty] | Chamber Temp |  |  |  | Cal Temp |  | Bkgd conc V sat |  | -99 | -99 | 1
[8 empty] | Pressure |  |  |  | 5V Supply |  | Flow fault |  | -99 | -99 | 1
[8 empty] | Sample Flow |  |  |  | A/D Test |  | Flow block temp |  | -99 | -99 | 1
[8 empty] | Lamp Intensity | [5 empty] | Chassis temp |  | -99 | -99 | 1
TEOM | Diag1 | TEOM FDMS | Diag2 | BAM | Diag3 | Partisol | Diag4 | Fidas 200 | Diag5
Power on | apm10_power_on | Power on | apm10_power_on | Power on |  | Power on |  | Power on: | [7 empty] | -99 | -99 | 1
Status light off | apm10_status_off | Status light off | apm10_status_off | Status light off |  | Status light off |  | Device ready displayed: | [7 empty] | -99 | -99 | 1
Serial Number | ainstrument_no | Serial Number | ainstrument_no | Serial Number |  | Serial Number |  | Serial Number: | [7 empty] | -99 | -99 | 1
|  |  |  | Actual Time |  | Actual Time |  | Actual Time: | [7 empty] | -99 | -99 | 1
Current Status Code: | apm10_status_code | Current Status Code: | apm10_status_code | Time |  | Current Time: |  | Displayed time: | [7 empty] | -99 | -99 | 1
Current Operating Mode: | apm10_op_mode | Current Operating Mode: | apm10_op_mode |  |  | Flow: | [9 empty] | -99 | -99 | 1
% Filter Lifetime Used: | apm10_filter_life | % Filter Lifetime Used: | apm10_filter_life | cycle mode |  | Volume: |  | PM1: | [7 empty] | -99 | -99 | 1
Current RS232 Mode: | apm10_rs232_mode | Current RS232 Mode: | apm10_rs232_mode | force maint |  | Sample def method |  | PM2.5: | [7 empty] | -99 | -99 | 1
Actual Time: |  | Actual Time: |  | fault polarity |  | Def sample rep time | [9 empty] | -99 | -99 | 1
Current time: | apm10_time | Current time: | apm10_time | split deltatap |  | Def sample start time |  | PM4: | [7 empty] | -99 | -99 | 1
Mass Conc: | apm10_mass_conc | Mass Conc: | apm10_mass_conc | reset polarity |  | Def filter type |  | PM10: | [7 empty] | -99 | -99 | 1
30-Min MC: | apm10_30min_mc |  | apm10_30min_mc | mult |  | Def sample duration |  | PMtot: | [7 empty] | -99 | -99 | 1
01-Hour MC: | apm10_1hour_mc | 01-Hour MC: | apm10_1hour_mc | offset |  | Sample flow rate |  | Cn: | [7 empty] | -99 | -99 | 1
08-Hour MC: | apm10_8hour_mc | 08-Hour MC: | apm10_8hour_mc | flow |  | Ave Temp |  | Humidity: | [7 empty] | -99 | -99 | 1
24-Hour MC: | apm10_24hour_mc | 24-Hour MC: | apm10_24hour_mc | ambp |  | Std Temp |  | Temp: | [7 empty] | -99 | -99 | 1
Total Mass: | apm10_total_mass | Total Mass: | apm10_total_mass | tape p |  | Ave Press |  | Pressure: | [7 empty] | -99 | -99 | 1
Case Temp: | apm10_case_temp | Case Temp: | apm10_case_temp | rh |  | Std Press | [9 empty] | -99 | -99 | 1
Air Temp: | apm10_air_temp | Air Temp: | apm10_air_temp | heater |  | Filter Fan |  | Sensor flow: | [7 empty] | -99 | -99 | 1
Cap Temp: | apm10_cap_temp | Cap Temp: | apm10_cap_temp | delta t |  | Ave Time |  | Coincidence: | [7 empty] | -99 | -99 | 1
Encl Temp: | apm10_encl_temp | Encl Temp: | apm10_encl_temp | s/no |  | Auto Run |  | Suction pumps: | [7 empty] | -99 | -99 | 1
Main Flow: | apm10_main_flow | Main Flow: | apm10_main_flow |  |  | Software Version |  | Weatherstation (y/n): | [7 empty] | -99 | -99 | 1
Aux Flow: | apm10_aux_flow | Aux Flow: | apm10_aux_flow |  |  | Serial Number |  | IADS: | [7 empty] | -99 | -99 | 1
Ave Temp: | apm10_av_temp | Ave Temp: | apm10_av_temp |  |  | Filter temp |  | Calibration: | [7 empty] | -99 | -99 | 1
Ave Press: | apm10_av_press | Ave Press: | apm10_av_press |  |  | Filter comp temp |  | LED Temperature: | [7 empty] | -99 | -99 | 1
Noise: | apm10_noise | Noise: | apm10_noise |  |  | Amb temp |  | Operating modus: | [7 empty] | -99 | -99 | 1
Frequency: | apm10_freq | Frequency: | apm10_freq |  |  | Amb press | [9 empty] | -99 | -99
|  | Pump Vacuum: |  |  |  | Ambient RH |  | Flow sensor offset: | [7 empty] | -99 | -99
TEOM | Diag1 | TEOM FDMS | Diag2 | BAM | Diag3 | Partisol | Diag4 | Fidas 200 | Diag5
Power on | apm25_power_on | Power on | apm25_power_on | Power on |  | Power on |  | Power on: | [7 empty] | -99 | -99 | 1
Status light off | apm25_status_off | Status light off | apm25_status_off | Status light off |  | Status light off |  | Device ready displayed: | [7 empty] | -99 | -99 | 1
Serial Number | ainstrument_no | Serial Number | ainstrument_no | Serial Number |  | Serial Number |  | Serial Number: | [7 empty] | -99 | -99 | 1
|  |  |  | Actual Time |  | Actual Time |  | Actual Time: | [7 empty] | -99 | -99 | 1
Current Status Code: | apm25_status_code | Current Status Code: | apm25_status_code | Time |  | Current Time: |  | Displayed time: | [7 empty] | -99 | -99 | 1
Current Operating Mode: | apm25_op_mode | Current Operating Mode: | apm25_op_mode |  |  | Flow: | [9 empty] | -99 | -99 | 1
% Filter Lifetime Used: | apm25_filter_life | % Filter Lifetime Used: | apm25_filter_life | cycle mode |  | Volume: |  | PM1: | [7 empty] | -99 | -99 | 1
Current RS232 Mode: | apm25_rs232_mode | Current RS232 Mode: | apm25_rs232_mode | force maint |  | Sample def method |  | PM2.5: | [7 empty] | -99 | -99 | 1
Actual Time: |  | Actual Time: |  | fault polarity |  | Def sample rep time | [9 empty] | -99 | -99 | 1
Current time: | apm25_time | Current time: | apm25_time | split deltatap |  | Def sample start time |  | PM4: | [7 empty] | -99 | -99 | 1
Mass Conc: | apm25_mass_conc | Mass Conc: | apm25_mass_conc | reset polarity |  | Def filter type |  | PM10: | [7 empty] | -99 | -99 | 1
30-Min MC: | apm25_30min_mc |  | apm25_30min_mc | mult |  | Def sample duration |  | PMtot: | [7 empty] | -99 | -99 | 1
01-Hour MC: | apm25_1hour_mc | 01-Hour MC: | apm25_1hour_mc | offset |  | Sample flow rate |  | Cn: | [7 empty] | -99 | -99 | 1
08-Hour MC: | apm25_8hour_mc | 08-Hour MC: | apm25_8hour_mc | flow |  | Ave Temp |  | Humidity: | [7 empty] | -99 | -99 | 1
24-Hour MC: | apm25_24hour_mc | 24-Hour MC: | apm25_24hour_mc | ambp |  | Std Temp |  | Temp: | [7 empty] | -99 | -99 | 1
Total Mass: | apm25_total_mass | Total Mass: | apm25_total_mass | tape p |  | Ave Press |  | Pressure: | [7 empty] | -99 | -99 | 1
Case Temp: | apm25_case_temp | Case Temp: | apm25_case_temp | rh |  | Std Press | [9 empty] | -99 | -99 | 1
Air Temp: | apm25_air_temp | Air Temp: | apm25_air_temp | heater |  | Filter Fan |  | Sensor flow: | [7 empty] | -99 | -99 | 1
Cap Temp: | apm25_cap_temp | Cap Temp: | apm25_cap_temp | delta t |  | Ave Time |  | Coincidence: | [7 empty] | -99 | -99 | 1
Encl Temp: | apm25_encl_temp | Encl Temp: | apm25_encl_temp | s/no |  | Auto Run |  | Suction pumps: | [7 empty] | -99 | -99 | 1
Main Flow: | apm25_main_flow | Main Flow: | apm25_main_flow |  |  | Software Version |  | Weatherstation (y/n): | [7 empty] | -99 | -99 | 1
Aux Flow: | apm25_aux_flow | Aux Flow: | apm25_aux_flow |  |  | Serial Number |  | IADS: | [7 empty] | -99 | -99 | 1
Ave Temp: | apm25_av_temp | Ave Temp: | apm25_av_temp |  |  | Filter temp |  | Calibration: | [7 empty] | -99 | -99 | 1
Ave Press: | apm25_av_press | Ave Press: | apm25_av_press |  |  | Filter comp temp |  | LED Temperature: | [7 empty] | -99 | -99 | 1
Noise: | apm25_noise | Noise: | apm25_noise |  |  | Amb temp |  | Operating modus: | [7 empty] | -99 | -99 | 1
Frequency: | apm25_freq | Frequency: | apm25_freq |  |  | Amb press | [9 empty] | -99 | -99
|  | Pump Vacuum: |  |  |  | Ambient RH |  | Flow sensor offset: | [7 empty] | -99 | -99